## Slide 1: infoServ
John A. Priller Senior Engineer

## Slide 2: What is infoServ?
An IOC task for providing IOC, PV and other information to scripting languages like Python and Java using HTTP URL requests. [ NOTE: HTTP GET only, PUT is never allowed! ]
Data is returned in JSON-encoded text structures when appropriate, for easy parsing using the JSON decoders available in most high-level scripting languages.
A number of different informational URLs are provided, more can be added by registering user URL handlers.
Small and self-contained, no support libraries needed, should run on any EPICS platform.

## Slide 3: Why Would Anyone Need This? [1 of 2]
There is a LOT of useful information known to an EPICS IOC that cannot be retrieved using Channel Access (not in R3.x anyway):
    Listing of all the record names on the IOC
    Record aliases
    Record information items i.e. info(key,value) – VERY useful!
    EPICS version information
    Environment variable and macro values
    st.cmd, *.dbd, *.db, *.substitutions and other file content

## Slide 4: Why Would Anyone Need This? [2 of 2]
For some things that could be done via Channel Access (example: retrieve the RTYP and ADEL field values of every record) it's much simpler for a script to make a HTTP request and parse a JSON-encoded reply…
… than it is to build tens or hundreds (or perhaps thousands) of Channel Access requests – and this method is only possible when all the record names are already known.

## Slide 5: Example: What’s on the IOC? A Sample Database File
record(ai, "DEMONSTRATION_AI_RECORD")
{
info("publish", "yes") # publish name in channel list
info("archive", “yes") # archive record’s value
alias("InternalAlias") # demo alias inside record
field(DESC, "Demonstration ai record")
field(DTYP, "Soft Channel")
field(SCAN, "Passive")
field(PREC, "2")
field(ADEL, "0.1")
}
# demo alias outside the record
alias("InternalAlias", "ExternalAlias")

## Slide 6: Example: What’s on the IOC? Our Previous Method
...
iocInit()
dbl > /home/cf-update/${HOSTNAME}.${IOC}.dbl
DEMONSTRATION_AI_RECORD
ExternalAlias
InternalAlias
Dump the output of an IOC shell “dbl” command to a file for processing by other software (ChannelFinder in our case):
For our sample database, this gets us a file containing:
I need a LOT more information than that!

## Slide 7: Example: What’s on the IOC? infoServ Data
{ "pvs": {
"DEMONSTRATION_AI_RECORD": {
"type": "ai",
"fields": { "ADEL": "0.1", "DESC": "Demonstration ai record" },
"aliases": [ "ExternalAlias", "InternalAlias" ],
"info": { "publish": "yes", "archive": “yes" } },
"ExternalAlias": {
"type": "ai",
"is_alias_to": "DEMONSTRATION_AI_RECORD",
"fields": { "ADEL": "0.1", "DESC": "Demonstration ai record" } },
"InternalAlias": {
"type": "ai",
"is_alias_to": "DEMONSTRATION_AI_RECORD",
"fields": { "ADEL": "0.1", "DESC": "Demonstration ai record" } }
} }
Requested URL = http://testioc:7729/pvs?fields=ADEL,DESC
(spacing and line-breaks reformatted for greater human readability)

## Slide 8: Provided URLs
/help? | Help page, essentially what you're seeing here...
/info? | (JSON data) server information
/pvs?[fields=FIELD[,FIELD2...]] | (JSON data) get list of records on IOC, and optionally field values
/env?VARNAME[,VARNAME2...] | (JSON data) get values of IOC environment variables
/file?FILENAME | (TEXT) get contents of a given file absolute directory paths ONLY MUST be subdir of $(TOP) or allowed by IOC call to infoServAllowFilePath()
/fileexists?FILENAME | (JSON) whether the given file exists same limitations as /file?
/filepaths? | (JSON data) get list of allowed file paths for /file? and /fileexists?
/startup? | (JSON data) get IOC startup script info

## Slide 9: Things We’re Using infoServ For
Building configuration files for ChannelArchiver and the Archiver Appliance
Creating channel lists for the CSS channel browser
Creating channel list web pages for humans to browse
Creating “all-in-one” database files for IOCs by parsing their startup scripts and the *.dbd, *.db and *.substitutions files loaded, with macro and environment variable replacements all filled in.
(With the above all-in-one databases) performing sanity-checks to look for duplicate record names, missing link targets, invalid fields, duplicate fields, invalid field menu choices, field value strings that are too long... and every other mistake I can remember making and spending hours trying to figure out!

## Slide 10: Issues
One must know the name or IP-address and assigned infoServ port number of every IOC that scripts need to access. We use a SQLite database for this right now, a formal SQL database is being designed.
The service can be abused out of ignorance or laziness: someone might write code to repeatedly fetch the .VAL fields for records because that's easier for them than the preferred method of setting up Channel Access monitors.
Files in or under the IOC's “top” directory (the only directories infoServ allows access to unless configured otherwise) may contain sensitive or proprietary information.

## Slide 11: Questions?
?
infoServ is available for download at:
https://groups.nscl.msu.edu/controls/#infoServ